| LIST OF REQUIRED AND AVAILABLE HOSPITAL’S INSTRUMENTS AND EQUIPMENTS AS PER MES |  |  |  |
| --- | --- | --- | --- |
| Sr. No. | Name of the Equipment | Quantity Required | Quantity Available |
|  | Room with well- lighted and ventilated and equipped with a chair and a table for doctor | 1per consultation room | 04 |
|  | X-ray viewer | 1 per consultation room | 04 |
|  | Two chairs for patients and attendants | 1per consultation room | 10 |
|  | An examination table of 6 ft. X 2.5ft.With privacy screen | 1per consultation room | 04 |
|  | Blood pressure apparatus | 1per consultation room | 04 |
|  | Stethoscope | 1per consultation room | 04 |
|  | Torch | 1per consultation room | 04 |
|  | Thermometer | 1per consultation room | 04 |
|  | Weighing machine. | 1per consultation room | 04 |
|  | Essential diagnostic tools required for examination of patients as per the scope of services offered by the hospital. | As per requirement | Available |
|  | Light source which gives light color and temperature similar to solar light, Light intensity of at least 500 lux at the point of examination | As per requirement As | Available |
|  | computers | 1 per consultation room | 04 |
|  | Telephone equipment | As per requirement | Available |
|  | Air conditioning | As per requirement | Available |
|  | Adequate lockable storage space | As per requirement | Available |
|  | Foot stools | 1 per consultation room | 04 |

| Furniture/Fixture Requirements for IPD mentioned in table below: - |  |  |  |
| --- | --- | --- | --- |
| Sr. No. | Name of the Equipment | Quantity Required | Quantity Available |
|  | Iron beds(simple, surgical & pediatrics) | 50 | 50 |
|  | Adequate wall or steel Cupboards | 8 | 8 |
|  | Arm Board Adult | 24 | 24 |
|  | Backrest | 8 | 8 |
|  | Bain marie trolley stainless steel 1 per floor | 1 per floor | 01 |
|  | Bed side cabinets | 1per 5 patients | 10 Available |
|  | Bedside Screen | 1 per ward or full length curtains between the beds | 04 |
|  | Bucket Plastic | 24 | 24 |
|  | Ceiling Fans | As per requirement | 10 Available |
|  | Clock1perward | 1 per ward | 04 |
|  | Containers for kitchen | As needed | Available |
|  | Doctor’s chair for OP and ward, | As needed | 28 Available |
|  | Doctor’s or Office table | 10 | 12 |
|  | Dressing trolley-1 per floor/ ward depending on layout | 8 | 04 |
|  | Dust bins in each ward and consultation room | 12 | 13 |
|  | Duty table for nurses | 20 | 20 |
|  | Emergency resuscitation kit | 1 per floor | 01 Available |
|  | Enema Set | 4 | 04 |
|  | Fire extinguisher – | ABC 1 per ward or floor based on layout | 10 |
|  | Foot stools | 25 | 25 |
|  | Fridge | 1 Per Area or Ward | 02 |
|  | Heavy duty Torch light | 1 per ward | 04 |
|  | Hospital Cots | 300 | 300 |
|  | Hospital Cots Pediatric | 30 | 30 |
|  | Hot Water Bags 2 per ward | 2 per ward | 08 |
|  | Ice bags | 2 per ward | 08 |
|  | Hot Water geyser | 2 per ward | 08 |
|  | I V Stands - 2 per 10 beds | 50 | 50 |
|  | Intercom System | 2 per ward | Available |
|  | Kidney Trays1 per 5 beds | 50 | 50 |
|  | Kitchen utensils, | Adequate | Available |
|  | Massage table of 7ft. x 2.5ft (wood or fiber) if service is provided | One per Procedure room | 01 |
|  | Medicine trolley | 1 per ward | 04 |
|  | Office chairs | 20 | 25 |
|  | Office Table | 10 | 12 |
|  | patient Beds with side rails | 20% of total beds | 10 |
|  | Patient call Bell System | 1 per bed | Available |
|  | Patient locker | 1 per bed | 50 |
|  | Patients examination table– 1per ward or floor a per the profile of patients and layout of facility | – 1 per ward or floor as per the profile of patients and layout of facility | 04 |
|  | Patients side table | 1 per bed | 50 |
|  | Pediatric cots with railings as per scope of services | as per scope of services | Available |
|  | Steel or Wooden cupboard | 20 | 20 |
|  | Steel rack | 20 | 20 |
|  | Stool 1Per bed | 15 | 15 |
|  | Stools revolving – 1 per ward | 2 per ward | 08 |
|  | Stretcher or Patient trolley – 1 per ward | 1 per ward | 04 |
|  | Urinal Male and Female | 50 | 50 |
|  | waiting chairs or benches for patients relatives | 50% of the bed strengths | 25 |
|  | Weighing Machine | 1 per ward | 04 |
|  | Wheel chair | 2 per 50 beds | 02 |
|  | X-ray viewer | one per ward | 04 |

| Requirements for In-Patient Department (IPD) mentioned in table below |  |  |  |
| --- | --- | --- | --- |
| Sr. No. | Name of the Equipment | Quantity Required | Quantity Available |
|  | Ambu bags | 6 | 6 |
|  | Arm Board Adult | 24 | 24 |
|  | Autoclave Drums | 9 | 9 |
|  | Back rest | 8 | 8 |
|  | Bain marie trolley stainless steel 1 per floor | 4 | 4 |
|  | Bed pans, 1 per 5patients | 10 | 10 |
|  | Biomedical waste colour coded bins | One set each per floor | 04 set |
|  | Cheatle forceps assorted sizes | 16 | 16 |
|  | Clock per ward | 1 per ward | 04 |
|  | Containers for kitchen | As required | Available |
|  | Dressing trolley-1per floor/ ward depending on layout | 1 per ward | 04 |
|  | Dust bins in each ward And consultation room | 1 per ward | 13 |
|  | Emergency Resuscitation kit | 1 per floor | 01 Available |
|  | Enema Set | As required | 04 |
|  | Fridge | As required | 02 |
|  | Heavy duty Torch light –1per ward | 1 per ward | 04 |
|  | Hot Water Bags 2 Per ward | 2 per ward | 08 |
|  | I V Stands - 2 per 10beds | 2 per 10 beds | 50 |
|  | Infra-Red lamp | 10 | 10 |
|  | Instrument tray– minimum1perward | minimum 1 per ward | 14 |
|  | Instrument trolley – 1 per ward | Minimum 1 per ward | 04 |
|  | Intercom System | As required | Available |
|  | Kidney Trays-1 per 5 beds | 1 per 5beds | 50 |
|  | Medicine trolley | minimum 1 per ward | 04 |
|  | Needle cutter – 3 Per ward | 3 per ward | 12 |
|  | Non mercury Thermometer clinical – 1perward | 1 per ward | 04 |
|  | O2 cylinder with spanner – 1perward | 1 per ward | 04 |
|  | Patients Examination table– 1 per ward/ floor As per the profile of patients & layout of facility | 1 per ward | 04 |
|  | Sphygmomanometers Stand Type1 & Portable (aneroid or Digital) Type 1 –1per ward | 1 per ward | 04 |
|  | Stretcher/Patient trolley – 1per ward | 1 per ward | 04 |
|  | Weighing Machine – 1per ward | 1 per ward | 04 |
|  | X-ray viewer – one per ward | 1 per ward | 04 |

| Emergency unit: Emergency Equipment and drugs are mentioned below in table |  |  |  |
| --- | --- | --- | --- |
| Sr. No. | Name of the Equipment | Quantity Required | Quantity Available |
|  | Emergency equipment box For first aid and Basic Life Support Skill | Minimum1 | 01 |
|  | Crash- Cardtrolley:1 | Minimum1 | 01 |
|  | Portable defibrillator:1 | Optional | 01 |
|  | Disposable syringes | As needed | 01 |
|  | Ambu Bag:1 | Minimum 1 | 01 |
|  | Laryngoscope with cell | Minimum 1 | 01 |
|  | Sealed battery cell | Minimum 1 | 01 |
|  | Endotracheal tubes | As needed | 01 Set |
|  | Monitor | As needed | 01 |

Anesthetic Drugs

| General Anesthesia |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sr. No. | Name of the Drug | Strength | Minimum quantity | Available |
|  | Ether | -- | As per requirement | Available |
|  | Halothane | -- | As per Requirement | Available |
|  | Isoflurane* | -- | As per requirement | Available |
|  | Ketamine Hydrochloride Injection | 10mg /ml,50 mg /ml | As per Requirement | Available |
|  | Nitrous Oxide | Medical grade | As per requirement | Available |
|  | Oxygen | Medical grade | As per requirement | Available |
|  | Injection Thiopentone Sodium | 0.5g,1 g powder | As per Requirement | Available |

| Local Anesthesia |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sr. No. | Name of the Drug | Strength | Minimum quantity | Available |
|  | Injection Bupivacaine Hydrochloride | 0.25%, 0.5%0 .5% +7.5%Gluco se | As per requirement | Available |
|  | Spray Ethyl Chloride | 1% | As per requirement | Available |
|  | Injection Lignocaine | Topical Forms 2-5% | As per requirement | Available |
|  | Injection Lignocaine | Hydrochloride 1-2% Spinal 5% + 7.5% Glucose | As per requirement | Available |
|  | Injection Lignocaine Hydrochloride + Adrenaline | 1%, 2% +Adrenaline 1:200.000 In vial 1.3 | As per requirement | Available |

| Preoperative Medication and Sedation for Short Term Procedures |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sr. No. | Name of the Drug | Strength | Minimum quantity | Available |
|  | Injection Atropine Sulphate | 0.6mg /ml | As per requirement | Available |
|  | Injection Diazepam | 5mg Injection 5mg/ ml | As per requirement | Available |
|  | Any other medication as decided by the concerned anesthetist |  | As per requirement |  |

| Emergency Drugs |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sr. No. | Name of the Drug | Strength | Minimum quantity | Available |
|  | Inj. Adrenaline | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Atropine | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Calcium Carbonate | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Dopamine | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Dobutamine | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Nitro-glycerine | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Sodium Bicarbonate | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Hydrocortisone | As per I.P | Minimum 10 Ampules | Available |
|  | Inhaler Beclomethasone(250micro/do se | As per I.P | Minimum 10 Ampules | Available |
|  | Inhaler Salbutamol(200micrograms) | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Frusemide | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Diazepam/Midazolam | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Deriphyllin | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Phenytoin sodium | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Avil | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Ondansetron | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. KCl | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Lignocaine2% | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Amiadarone | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Magnesium sulphate | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Mannitol | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Morphine/Inj.Pethidine | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Noradrenaline bititrate | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Fentanyl | As per I.P | Minimum 10 Ampules | Available |
|  | Water for Injection | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Sodium Valporate | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Voveran | As per I.P | Minimum 10 Ampules | Available |
|  | Inj. Paracetamol | As per I.P | Minimum 10 Ampules | Available |
|  | Metoprolol Injection | As per I.P | Minimum 10 Ampules | Available |
|  | N/2 saline Injection | As per I.P | Minimum 10 Ampules | Available |
|  | Oxygen Inhalation | As per I.P | Minimum 10 Ampules | Available |

| Central laboratories: - the college shall have facility of scanning and sonography equipment in own hospital or under MoU with NABL accredited super specialty Hospital |  |  |  |
| --- | --- | --- | --- |
| Sr. No. | Name of the Equipment | Quantity Required | Quantity Available |
|  | Alarm clock | 1 Per Area/Ward | 04 |
|  | Automatic cell counter | Optional | Available |
|  | Auto analyzer or Semi auto analyzer | Optional | Semi |
|  | Auto clave | Minimum 1 | 1 |
|  | Binocular Microscope | Minimum 1 | 03 |
|  | Biochemistry analyzer | Minimum 1 | 01 |
|  | Chemical Balances | Minimum 1 | 01 |
|  | Counting chamber | Minimum 1 | 01 |
|  | Electric Colorimeter | Minimum 1 | 01 |
|  | Centrifuge Machine | Minimum 1 | 01 |
|  | Electrolyte analyzer | Minimum 1 | 01 |
|  | ESR stand with tubes | Minimum 1 | 05 |
|  | Flame photometer | Minimum 1 | 01 |
|  | Glucometer | 1 Per Area/Ward | 04 |
|  | Hematology Analyzer or Cell Counter | Minimum 1 | 01 |
|  | Haemoglobinometer | Minimum 1 | 01 |
|  | HbA1c machine | Minimum 1 | 01 |
|  | Hot air oven | As needed | Available |
|  | Hot plates | As needed | Available |
|  | Lab Incubator | As needed | Available |
|  | Laboratory Auto Claves | As needed | Available |
|  | Micro pipette of different volumes | As needed | Available |
|  | PH meter | As needed | Available |
|  | Refrigerator | Minimum 1 | 01 |
|  | Rotor or Shaker | Minimum 1 | 01 |
|  | Simple balances | Minimum 1 | 01 |
|  | Spirit lamp | Minimum 1 | 01 |
|  | TCDC count apparatus | As needed | Available |
|  | Test tube holders | As needed | Available |
|  | Test tube rack | As needed | Available |
|  | Test tube stands | As needed | Available |
|  | Timer stopwatch | As needed | Available |
|  | Urine analyzer | Minimum 1 | 01 |
|  | Water bath | As needed | Available |

| Operation theatre and labour room- equipment requirement for operation theatre is mentioned below in table |  |  |  |
| --- | --- | --- | --- |
| Sr. No. | Name of the Equipment | Quantity Required | Quantity Available |
|  | Anterior vaginal Wall retractor | Adequate | 02 |
|  | Artery forceps | Adequate | 05 |
|  | Auto Clave HP Vertical (2bin) | Minimum 1 | 01 |
|  | Autoclave equipment for sterilization/Sterilizer | Minimum 1 | 01 |
|  | Bladder sound (Urethral dilators)of different sizes | Minimum 1 | 01 |
|  | Cusco’s Speculum | As needed | 02 |
|  | Diathermy Machine (Electric Cautery) | As needed | 01 |
|  | Disposable syringes (5-10cc) | As needed | Available |
|  | Enema Pot | Minimum 1 | 01 |
|  | Focus lamp Ordinary | Minimum 1 | 01 |
|  | Foley’s Catheter | As needed | 05 |
|  | Formaline dispenser | Minimum 1 | 01 |
|  | General Surgical Instrument Set Piles, Fistula, Fissure | Minimum 1 | 01 Available |
|  | Instrument Trays of Various Sizes | Adequate | 02 |
|  | Instrument Trolley | As needed | 01 |
|  | IV stands | As needed | 02 |
|  | Kidney tray | As needed | 02 |
|  | Knife and scissor 1 each | As needed | 01 Each |
|  | L.P. Tray | Adequate | Available |
|  | Magill’s forceps (two sizes) | Adequate | 02 |
|  | Metallic or disposable insemination cannula | Adequate | 02 |
|  | Operation table Hydraulic Minor with stand | Minimum 1 | 01 |
|  | OT Spotlight (Shadow less ceiling fitted/stand mounted) | Minimum 1 | 01 |
|  | Oxygen Cylinder | Minimum 1 | 02 |
|  | Oxygen Mask with Circuit | Minimum 1 | 01 |
|  | Plastic aprons, gloves and mask | Adequate | Available |
|  | Shadow less lamp ceiling type major or minor | 1 | 01 |
|  | Shadow less Lamp Stand model | Minimum1 | 01 |
|  | Sims speculum in small, medium and large size | Adequate | 01 Set Available |
|  | Sphygmomanometer | Minimum 1 | 02 |
|  | Sterile cotton | As needed | Available |
|  | Sterile gloves | As needed | Available |
|  | Sterilizer Small (Instruments) | As needed | Available |
|  | Sterilizer big(Instrument) | As needed | Available |
|  | Sterilizer Medium (Instrument) | Minimum 1 | Available |
|  | Stethoscope | Minimum 1 | 02 |
|  | Suction Apparatus - Electrical | Minimum 1 | 02 |
|  | Suturing Set | Minimum 1 | Available |
|  | Swab holders | Minimum 1 | Available |
|  | Thermometer | Minimum 1 | 01 |
|  | Tongue depressors | Minimum 1 | Available |
|  | Toothed forceps | Minimum 1 | 01 |
|  | Two long(8inch) and two short (6inch) Artery forceps | Minimum 1 | 01 each |
|  | Two Uterine sound | Minimum 1 | 01 |
|  | Urethral Dilator Set | Minimum 1 | 01 |
|  | Vaginal Examination set | Minimum 1 | 01 |
|  | Vulsellum | Minimum 1 | 01 |

| Equipment requirements for Anesthesia |  |  |  |
| --- | --- | --- | --- |
| Sr. No. | Name of the Equipment | Quantity Required | Quantity Available |
|  | Airway female & male | Adequate | Available |
|  | Anesthesia Trolley / Boyle’s Apparatus | Minimum 1 | 01 |
|  | Anesthetic- laryngoscope Magill’s with Four blades | Minimum 2 | 02 |
|  | CO2 cylinder for laparoscope | Minimum 1 | 01 |
|  | Connector set of six for ETT | Minimum 1 | 01 |
|  | Defibrillator or Automated external defibrillator | Minimum 1 | 01 |
|  | Endotracheal tube sets | Minimum 1 | Available |
|  | Magill’s forceps (two sizes) | Minimum 1 | 02 |
|  | Mouthprop | Minimum 1 | 01 |
|  | Multi-parameter Monitor | Minimum 1 | Available |
|  | N2O Cylinder for Boyles | Minimum 1 | Available |
|  | O2 cylinder for Boyles | Minimum 1 | Available |
|  | Tongue depressors | Adequate | Available |
|  | Tubes connecting for ETT | Adequate | Available |

| Rehabilitation unit including physiotherapy and yoga facilities-equipment or instruments for physiotherapy are specified below: |  |  |  |
| --- | --- | --- | --- |
| Sr. No. | Name of the Equipment | Quantity Required | Quantity Available |
|  | Diathermy machine | 01 | 01 |
|  | Traction (cervical & lumbar) | 01 | 01 |
|  | Physiotherapy cycle | 01 | 01 |
|  | Ultrasound equipment | 01 | 01 |
|  | Interferential therapy machine | 01 | 01 |
|  | Transcutaneous Electrical nerve Stimulation | 01 | 01 |
|  | Treatment Table | 01 | 01 |

| Imaging Equipment |  |  |  |
| --- | --- | --- | --- |
| Sr. No. | Name of the Equipment | Quantity Required | Quantity Available |
|  | 300 M.A. X-ray machine/ Digital X-Ray machine | 01 | 01 |
|  | Ultra-Sonogram (Obstetrics and gynecology department should be having a separate ultra- sound machine of its own) | Optional or under Memorandum of understanding with super specialty hospital | 01 |
|  | Echocardiogram | 01 | 01 |
|  | X-ray developing tank | Minimum 1 | Digital Available |
|  | Safe light X-ray darkroom | Minimum 1 | Digital Available |
|  | Cassettes X-ray | Minimum 1 | 01 |
|  | Lead apron | Minimum 1 | 01 |
|  | Intensifying screen X - ray | Minimum 1 | 01 |
|  | Thyroid shield | Minimum 1 | 01 |
|  | TLD badges | One per person | Available |
|  | Gonadal guard | Minimum 1 | 01 |
|  | X-ray lobby single | Minimum 1 | 01 |
|  | Ambulance | As per MES | MOU |
|  | Lift | As per MES | NA |
|  | Ramp for patients with disability | As per MES | Available |
|  | Wheel chairs & stretchers in the porch or visiting area | As per MES | Available |

| HOSTEL INFORMATION |  |  |
| --- | --- | --- |
|  | Hostel for Boys with details of accommodation Own / Rented | Own |
|  | Hostel for Girls with details of accommodation Own / Rented | Own |
|  | Security provision | Available |
|  | Mess/Kitchen | Available |